
January 6, 2026
Request for Pricing

Fire Protection Inspection 

(and related services)
for the:

Dakota County CDA

1228 Town Centre Drive

Eagan, MN  55123
Contact:

Aaron Davis
Contract Service Coordinator
Dakota County CDA

Office:
(651) 675-4507
adavis@dakotacda.org
Table of Contents

 

 

	Table of Contents
	Page(s)

	Cover Sheet


	1

	Table of Contents


	2

	Request for Bids


	3-5

	Scope of Work 


	6-7

	Section 3 Requirements
	8



	Bid Form


	9-12 (must be returned to CDA)

	Contractors Qualification Statement


	13-14 (must be returned to CDA)

	General Conditions


	www.dakotacda.org-doing-business-with-the-CDA/contracting-opportunities/

	Sample Contract


	www.dakotacda.org-doing-business-with-the-CDA/contracting-opportunities/


Submittals to CDA, if awarded a contract
HUD 5369-C Non-Construction Contract
available by request (2 pages)
HUD 5370-C Section 1
available by request (6 pages)
HUD 5370-C Section 2
available by request (3 pages)
HUD 60002 Section 3 Summary Report
available by request (3 pages) Employee & Subcontractor/Independent Contractor List
available by request (1 page)

Invitation

REQUEST FOR BIDS (RFB)

Fire Sprinkler Inspections
Dakota County CDA
Qualified Contractors are invited to submit a BID for the above noted services.  The Contract will be awarded to the qualified Contractor(s) with the lowest bid. 

Bids due:


Tuesday, January 27, 2026 @ 11:00 a.m.
Contract start date:

March 1, 2026 
Contract completion:

February 28, 2027
Contract completion:
The Contract is for a single year but could be renewed for up to three years. 
The CDA (solely) will also consider other contractual arrangements to allow for streamlined administration of the work.

Brief description of the work:  
Complete fire inspection services per NFPA 25 for all wet, dry, pre-action or antifreeze systems. The service also extends to fire suppression systems for all kitchen range hoods.
For uniformity, please submit your proposal on the Bid Form included in this Project Manual. All costs and alternates must be filled in; incomplete proposals will be rejected. All price proposals must be signed.
The CDA is exempt from the local .25% transit tax and MN state tax of 6.875%. There are no exemption certificates. 
There is one property (Colleen Loney Manor) that is subject to Davis-Bacon prevailing wages and is denoted by "public housing". It should be noted that the principal contractor is responsible for full compliance of all the workers on-site (the contractor, subcontractors and any lower-tier subcontractors) with the labor standards provisions applicable to the project. Certified weekly payroll will be required to be submitted to CDA offices every week and includes paying construction labor on a weekly basis (a Davis-Bacon requirement).
Contractors or subcontractors that violate the labor standards provisions may face administrative sanction by HUD and/or DOL and may be subject to civil or criminal prosecution.
Contractor requirements:
The Contractor must be able to demonstrate that both the Contractor and its project superintendent have at least three years of experience with projects of the size and type of this one, or larger. A list of at least three references and a minimum of three similar projects must be submitted to the CDA upon request.

The Contractor must have full knowledge of the services to be provided (as determined by the CDA). The Contractor must have a satisfactory credit standing, must have no delinquent tax liability, and must have the financial capability to perform under a contract for this project including the purchase of materials for the project. The Contractor must provide financial statements and credit references upon request.
The Contractor must not be in default on any contracts, must be in compliance with all tax laws of the State of Minnesota, must not be debarred by any institution or government agency as a result of performance of past contracts and must not be in violations of any provisions of contracts with the CDA.
The Contractor must not have been convicted of any criminal offense related to obtaining or attempting to obtain any public or private contract, or subcontract. The Contractor must not have been convicted, under any jurisdiction of law, for embezzlement, theft, forgery, bribery, falsification or destruction of records, receiving stolen property, or any other offense that, in the opinion of the CDA, is related to business integrity, honesty or performance under contract.
The Contractor must, if requested by the CDA, submit evidence of ability to obtain the required insurance, must submit references and evidence of compliance with the above requirements within (72) hours of the request.
The Contractor agrees to provide any information requested by the CDA both before and during performance under a contract that the CDA feels is required to verify the Contractor's compliance with the conditions of the price proposal, the requirements of the Project Manual or the conditions of the Contract.
A bid bond and performance bond is required for project pricing over $100,000.00.
All properties are tobacco free work properties.
  The Dakota County Community Development Agency:
The CDA reserves the right to reject any/all price proposals received, and to waive any informalities and irregularities in this price proposal request.
The CDA reserves the right to reject any contractor that, in the opinion of the CDA, does not meet the listed requirements or is not a responsible or qualified contractor, or does not otherwise have the capability to perform under a contract.
Information supplied to the CDA is subject to the Minnesota Data Privacy Act (MN stat 13.01 et seq) and shall become public unless it falls within one of the exemptions of the act and is identified as such by the Contractor. The CDA assumes no responsibility to defend any action by a third party seeking to access material deemed to not be public information. The CDA will release any information to comply with a court order. The CDA assumes no responsibility for any damages claimed by a Contractor as a result of release of information provided by the Contractor to the CDA.
Payment requests:
The CDA processes payment requests within (30) days on receipt. Payment requests must have all properly completed paperwork accompanying the request to be processed. The payments are sent out via USPS, and cannot be picked up.
Change orders:
All change order requests must have the signed (signed by both the contractor and CDA representative) change order paperwork prior to work taking place. Requests for change orders will not be allowed without the proper paperwork.
See the other sections of this RFB for further information and requirements. Also see any other attachments.
Respectfully,

Aaron Davis

Contract Services Specialist
Dakota County CDA

adavis@dakotacda.org
Scope of Services
1. Work Requirements
Dakota County CDA is requesting bids for Fire Sprinkler inspections for all of their existing facilities. The fire protection contractor will be responsible for the following items.
Complete fire sprinkler inspection per National Fire Protection Association 25 (NFPA) the most current version-- for all wet, dry, pre-action or antifreeze systems in all Dakota County CDA buildings. All reports to be e-mailed.

The work of the contract to include, but is not limited to:
1.1 Sprinklers (wet and dry systems) shall be inspected from the floor level includes hangars, pipe, fittings, sprinklers, spare sprinklers, informational signs etc. to be done annually.
1.2 Fire pump inspection and flow test (at sites with fire pumps) to be done annually.
1.3 Sprinklers & automatic spray nozzles protecting commercial cooking equipment & ventilation systems to be done semi-annually.

1.4 Air compressors for dry systems. When testing compressors the contractor shall replace with new desiccant in the dryers (where desiccant is used). Dessicant to be replaced annually.

1.5 Dry systems. Low point, condensate drains at dry systems to be inspected and drained--
(3) times a year: November, January and March of each year, or as approved by CDA staff. All low point areas to be drained. A separate inspection sheet must be filled out recording the location of each condensate drain, the service date, special notes and signed by the contractor (inspector). Report to the CDA.

1.6 Air compressors. Drain all air compressors (3) times a year: November, January and March of each year, or as approved by CDA staff. This work can be done at the same time as low drain clean-outs. The inspector shall record compressor start up readings and inspect/drain all condensate drains. All information to be recorded and a copy sent to the CDA. Report to the CDA.

1.7 Air compressors for dry systems. Work to also include checking oil levels on all air compressors, and to visually check the tank and belts for corrosion and wear (3 times per year). Report to the CDA.

1.8 Valves, Valve components, and trim. Full flow trip test. Includes air leakage testing of dry pipe valves to be done every (3) years. This work to be done in year three of the contract. Report to the CDA.

1.9 Internal piping condition & obstruction investigation to be done a minimum every (5) years. The CDA requires that this exceed the code minimums, and that the internal piping test to be done in year 2 of the contract - 2024. This inspection has been annotated on the bidding pages.

1.10 Standpipe & hose system inspection, testing, & maintenance (5 year flow/trip test) to be done at a minimum of every (5) years. Inspection of all standpipe systems including testing of any pressure reducing valves. Testing or certification of any RPZ valves connected to the fire protection system. The CDA requires that this exceed the code minimums and this to be done in year three of the contract-2022.

1.11 All reports are to be sent electronically (via e-mail) to the Dakota County CDA. All inspection reports must be returned within two weeks of inspection. Contractor to provide all documentation for all required authorities and any fees required will be paid by the Contractor.
1.12 All testing and inspection work as required by NFPA 25,13,14,16 to be included by the fire protection Contractors.

1.15 The fire protection contractor will work in coordination with the caretakers, building engineers, the low voltage alarm contractors, sub-contractors and Dakota County CDA staff to minimize disruption to all residents during all inspections. The inspections and testing are to be done from February to June.

1.16 The CDA is requiring that a JOURNEYMAN TECHNICIAN must do all work and not an apprentice. A copy of inspectors license must be given to the CDA for file purposes-applies to annual inspection only.

1.17 Repairs and items that need be addressed by NPFA 25 codes need to be detailed in a cost proposal per building.

1.17 No additional work or repairs are to be done without prior CDA approval.
1.18 Mississippi Terrace #214 has a low point drain in the unit. A 2-day notice is required to access the unit. The notice can be provided by the contractor or the CDA, but the notice will need to be coordinated by the contractor & CDA. (Added 4/18/2019).
Section 3 Requirements 

(applies to all CDA sites)

a. The work to be performed under this Contract is subject to the requirements of Section 3 of the Housing and Urban development Act of 1968, as amended, 12 U.S.C. 170lu (section 3). The purpose of Section 3 is to ensure that employment and other economic opportunities generated by HUD assistance or HUD-assisted projects covered by Section 3, shall, to the greatest extent feasible, be directed to low- and very low-income persons, particularly persons who are recipients of HUD assistance for housing.

b. The parties to this Contract agree to comply with HUD’s regulations in 24 CFR part 135, which implement Section 3. As evidenced by their execution of this Contract, the parties to this Contract certify that they are under no contractual or other impediment that would prevent them from complying with the part 135 regulations.

c. The Contractor agrees to send to each labor organization or representative of workers with which the Contractor has a collective bargaining agreement or other understanding, if any, a notice advising the labor organization or workers’ representative of the Contractor’s commitments under this Section 3 clause, and will post copies of the notice in conspicuous places at the work site where both employees and applicants for training and employment positions can see the notice. The notice shall describe the Section 3 preference, shall set forth minimum number and job titles subject to hire, availability of apprenticeship and training positions, and qualifications for each; the name and location of the person(s) taking application for each of the positions; and the anticipated date the work shall begin.

d. The Contractor agrees to include this Section 3 clause in every subcontract subject to compliance with regulations in 24 CFR part 135, and agrees to take appropriate action, as provided in an applicable provision of the subcontract or in this Section 3 clause, upon a finding that the subcontractor is in violation of the regulations in 24 CFR part 135. The Contractor will not subcontract with any subcontractor where the Contractor has notice or knowledge that the subcontractor has been found in violation of the regulations in 24 CFR part 135.

e. The Contractor will certify that any vacant employment positions, including training positions, that are filled (1) after the Contractor is selected but before the Contract is executed, and (2) with persons other than those to whom the regulations of 24 CFR part 135 require employment opportunities to be directed, were not filled to circumvent the Contractor’s obligations under 24 CFR part 135.

f. Noncompliance with HUD’s regulations in 24 CFR part 135 may result in sanctions, termination of this Contract for default, and debarment or suspension from future HUD assisted Contracts.

g. With respect to work performed in connection with Section 3 covered Indian Housing Assistance, Section 7(b) of the Indian Self-Determination and Education Assistance Act (25 U.S.C. 450e) also applies to the work to be performed under this Contract. Section 7(b) requires that to the greatest extent feasible (1) preference and opportunities for training and employment shall be given to Indians, and (2) preference in the award of contracts and subcontracts shall be given to Indian organizations and Indian-owned Economic Enterprises. Parties to this contract that are subject to the provisions of Section 3 and Section 7(b) agree to comply with Section 3 to the maximum extent feasible, but not in derogation of compliance with Section 7(b).

h. See attached HUD 60002 form.  This form to be completed by the contract holder(s).
BID FORM
Submit this form as part of bid response.
Attn:  Aaron Davis

adavis@dakotacda.org 651-675-4507

1228 Town Centre Drive

Eagan MN  55123

Base Price (per site):

The undersigned, having carefully examined the Project Manual prepared by The Dakota County CDA for the following work: Fire Protection Services (Dakota CDA), Minnesota, being familiar with the local conditions affecting the cost of the work, hereby proposes to furnish all labor, material, equipment, tools, transportation, taxes and services necessary to complete the work. The Davis-Bacon labor rates are to be applied to public housing sites.  Work to be in accordance with the Project Manual for the following sums:
	Location
	Address
	Notes
	Base Price


	Dakota County CDA
	1228 Town Centre Drive

Eagan 
	CDA office building
	$

	Colleen Loney Manor
	1675 Livingston Ave 
West St. Paul 
	77 – 1 bedrooms, 3 – 2 bedrooms (80 total)
Ansul System / No dry System
	$

	Winsor Plaza
	20827 Howland Ave

Lakeville
	44 – 1 bedrooms, 20 – 2 bedrooms (64 total)
Air Dryer Desiccant, Fire Pump, Ansul System, Dry System and low point drains
	$


	Oakwoods
	2065 Park Center Drive

Eagan 
	44 – 1 bedrooms (3 ADA units), 11 – 2 bedrooms (65 total)
Air Dryer Desiccant, Dry System and low point drains
	$

	Haskell Court
	140 E Haskell

West St. Paul
	27 – 1 bedrooms (2 ADA), 15 – 2 bedrooms (42 total)
Dry System and low point drains
	$

	Mississippi Terrace
	301 Ramsey Street
Hastings
	27 – 1 bedrooms (2 ADA), 13 – 2 bedrooms (40 total)
Air Dryer Desiccant, Dry System and low point drains
	$

	Carmen Court
	5825 Carmen Ave

Inver Grove Heights
	33 – 1 bedrooms (2 ADA), 18 – 2 bedrooms (51 total)

Air Dryer Desiccant
	$

	Orchard Square
	7375-157th Street W

Apple Valley 
	32 - 1 bedrooms (2 ADA), 18 – 2 bedrooms (50 total)

Air Dryer Desiccant
	$

	Parkview Plaza
	730 S. Plaza Dr

Mendota Heights
	42 – 1 bedrooms (2 ADA), 23 -2 bedrooms (65 total)
	$

	Cameo Place
	3101 L 147th Street

Rosemount
	30 – 1 bedrooms (2 ADA), 14 – 2 bedrooms (44 total)

Air Dryer Desiccant
	$

	O’Leary Manor
	1220 Town Centre Dr

Eagan
	38-1 bedrooms, 27-2 bedrooms (65 total)
	$

	Cortland Square
	7385-157th Street W

Apple Valley
	41-1 bedrooms (2 ADA), 19-2 bedrooms (60 total)
	$

	Main Street Manor
	8725-209th Street W

Lakeville
	34-1 bedrooms, 17-2 bedrooms (51 total)
	$

	Cahill Commons
	5840 Cahill Ave

Inver Grove Heights
	38-1 bedrooms, 22-2 bedrooms (60 total)
	$

	Village Commons
	720 Linden Street

Mendota Heights
	30-1 bedrooms, 30-2 bedrooms (60 total)
	$

	Lakeside Pointe
	1200 Town Centre Drive

Eagan
	32-1bedrooms, 28-2 bedrooms (60 total)
	$

	The Dakotah
	900 S Robert Street

West St. Paul
	48-1 bedrooms, 11-2 bedrooms (59 total)
	$

	Rivertown Court
	1791 S. Frontage Road

Hastings
	38-1 bedrooms, 25-2 bedrooms (63 total)

Fire Pump
	$

	Dakota Heights
	337-15th Ave N

South St. Paul
	31-1 bedrooms, 25-2 bedrooms (56 total)

Ansul System
	$

	Oakwoods East
	2061 Park Center Dr

Eagan
	29-1bedrooms (1 ADA), 26-2 bedrooms (55 total)

Area of Refuge, No low point drains
	$

	Crossroads Commons
	17725 Glasgow Ave

Lakeville
	45-1 bedrooms (1 ADA), 42-2 bedrooms (87 total)

Ansul System, Area of Refuge, Fire Pump
	$

	Cobblestone Square
	15848 Emperor Ave

Apple Valley 
	30-1 bedrooms, 30-2 bedrooms (60 total)

Ansul System, Area of Refuge
	$

	Thompson Heights
	1350 Thompson Ave

South St. Paul
	30-1 bedrooms (3 ADA), 30-2 bedrooms (60 total)
Ansul System, Area of Refuge, No low point drains
	$

	Vermillion River Crsg
	21400 DuShane Parkway

Farmington
	32-1 bedrooms, 34-2 bedrooms (66 total)

Ansul System, Area of Refuge, No low point drains
	$

	Hillcrest Pointe
	9170 Cahill Avenue

Inver Grove Heights
	32-1 bedrooms, 34-2 bedrooms (66 total)

Ansul System, Area of Refuge (8 zones)
	$

	Cambrian Commons
	14736 Cambrian Ave

Rosemount
	34-1 bedrooms, 26-2 bedrooms (60 total)

No range hood system, Area of Refuge
	$

	Argonne Hills
	17688 Junelle Path

Lakeville
	36-1 bedrooms, 26-2 bedrooms (62 total)

No range hood system, Area of Refuge
	$

	Gateway Place
	895 S. Robert Street
West St. Paul
	21 studio units, 33-1bedroom units (54 total)

	$

	Nicols Pointe
	4012 Nicols Road

Eagan
	24 – 1 bedroom units
	$

	Lincoln Place
	1997 Gold Trail

Eagan
	24 studio apartments

No low point drains
	$

	Lafayette Townhomes
	4900 Bongard Way

Inver Grove Heights
	30 townhome units

Several sprinkler room locations
	$

	Keystone Townhomes
	20688-20696 Keystone Ave

Lakeville
	36 townhome units


	$

	Prestwick Townhomes
	14101-14160 Addison Way

Rosemount
	40 townhome units
	$

	Denmark, Townhomes
	Denmark Trail
Farmington
	40 townhome units
	$



	TOTAL PRICE YEAR 1 (2026)
	
	
	$


Total second (2nd) year--2027



Total  
$




Total third (3rd) year—2028



Total
$



Submit this form as part of bid response.
Alternates:

Alternates must be filled out to be a completed/valid form. Price for work includes: to be done during regular work hours (not overtime), trip to site, taxes and any permits.

1. Hourly rate for repair work.
Year 1 $

per hour
Year 2 $

per hour

Year 3 $

per hour

2. Provide a price for a new 30-gallon air compressor with an approved storage vessel and cycle counter gauge to replace an existing air compressor including any permits and reports.

Add $ 


per air compressor

3. Provide a price to replace a gauge on an air compressor or sprinkler piping.
Add $ 


per air compressor

4. Provide a price to replace a dry sprinkler head pendant
Add $ 


per head

5. Provide a price to replace a wet sprinkler head pendant
Add $ 


per head

6. Valley Ridge
1921 Burnsville Parkway
Burnsville, MN 55337. Run by Presbyterian Homes.
(39) one bedroom (1 HC), (41) two bedroom; (80 units)
Ansul system, area of refuge
$




7. Eagle Ridge Place
12600 Eagle Ridge Drive
Burnsville, MN 55337. A UL building. Inspection & monitoring.
(36) one bedrooms (2 HC units), (23) two bedrooms; (60 total)
Air dryer desiccant, UL Rating monitoring & inspection
to be done together; Dry system & low point drains
$


8.  Park Ridge Place
330 East Burnsville Parkway
Burnsville, MN 55337. A UL building. Inspection & monitoring.
46 one bedroom (2 HC), (20) two bedrooms; (66 total)
$


Submit this form as part of bid response.
There may be additions added to contract as new developments are constructed.

GENERAL
Accompanying this proposal is a bid security in the form of a 


 in the amount of 
$_______________________.  The bid security noted above includes the combination total of the base bid plus the total of all alternates.
The undersigned agrees that if this proposal is accepted and the undersigned refuses to enter into a Contract with the CDA on the terms stated in this Bid or fails to furnish satisfactory Performance and Payment Bonds in accordance with the Bidding Documents, this bid security shall be forfeited to the CDA, not as a penalty, but as liquidated damages.

A. The undersigned agrees, if awarded the Contract, will enter into a Contract with the CDA and will execute the Agreement and furnish satisfactory Performance and Payments Bonds in accordance with the Bidding Documents.

B. The undersigned agrees that this proposal may not be withdrawn for a period of (60) calendar days immediately following the date of receipt of bids. It is understood that the CDA reserves the right to reject any or all bids, to waive any informality or irregularity in any bid received and to accept any alternate in any order or combination.

C. Addenda No(s). 
have been received and incorporated in this Bid. (required to be filled in).  If none, mark N/A.
D. I have reviewed the site conditions, the project manual/requirements, and required submittals in providing the costs for the noted services:

Legal Name of Person, Firm, or Organization:  









Name of Person Completing Bid and Title:










Address:














Signature:















Submit this form as part of bid response.
CONTRACTOR’S QUALIFICATION STATEMENT

SUBMITTED BY_______________


CORPORATION_______________

ADDRESS____________________


PARTNERSHIP________________

_____________________________


______________________________

PRINCIPAL OFFICE___________


INDIVIDUAL__________________

PHONE______________________


OTHER_______________________


(NOTE: Attach separate sheets as necessary)

1. How many years has your organization been in business?

2. How many years has your organization been in business under its present business name? 

3.  If a corporation answer the following:
Date of incorporation:
____________________
Vice-President’s name: _______________________
State of incorporation:
____________________
Secretary’s name: ___________________________

President’s name: _______________________
Treasurer’s name: ___________________________
4. If individual or partnership, answer the following:

Date of organization: _____________________
Name and address of all partners: ________________________________________________________
5. We normally perform ___________% of the work with our own forces;

6. List the equipment that you own that you would use to complete the work of this contract?
7. List the construction experience of the principal individuals of your organization:
8. List your principal subcontractors:

9. List your principal suppliers:

10. List your bank references:

Submit this form as part of bid response.
11. List three completed projects who may be contacted as references, type or work address, phone number and contact name.

a.___________________________________________________________________________
b. ____________________________________________________________________________
c.____________________________________________________________________________

12. List insurance requirements

Name of insurance company:

Name of insurance agent:

Agents phone number:

13. Are you licensed by the State of Minnesota?

List other licenses held:
I certify that the above is true and complete and I authorize the Dakota County CDA to verify any information on this statement.

Signature_________________________________
Date______________
Submit this form as part of bid response.
16

